# AIB Multioutput ASTDC Firmware Release Notes

V4.37

- Fan fault error while powering off the unit is fixed.

- Issue with the Fold back fault is triggered before the fold back interval elapses is fixed.

V4.33

- Support for the 600V model.

- Derating characteristics at low line single phase of ASM model is fixed.

V4.31

- Support for 2 channels.

- Added extra SCPI commands.

V4.33

- Input line detection logic enhanced.

V4.29

- Default gains and offset values are fine tuned

- Added extra SCPI commands.

V4.28

- Fixed issues for PFC fault in Channel 1.

V4.26

- Default gains for analog interface calculation is automated depending on model voltage and current.

V4.23

- Updated Digital I/O signal functionality

- Trigger output pulse timing fixed.

V4.19

- Updated loop coefficients for 400V.

V4.16

- Saving number of DC-DC modules and PFC modules issue got resolved.

V4.15

- Analog reference menu issue fixed.

- PONS Power query command issue fixed

V4.13

- Updated Sour:pow? Command response.

- Power limiting as per ASA model specification.

V4.12

- Updated to make Output response faster

- Solved timing issues for CAL MOD Defaults settings

- New Commands added to send Fault status, LED status in single command