# Asterion DC System Controller Firmware V1.114

# Supported Instruments:

# AST-DC Series

- ASH-DC Series

# Release Notes:

### V1.114:			Date: 03-December-2021

- Improved performance

### V1.111:			Date: 20-April-2021

- SYST<n>:mod:remonoff? Command query added to know the support for Remote ON/OFF feature

### V1.110:			Date: 1-March-2021

- EtherCAT support added for Asterion 2U models.

### V1.105:			Date: 8-February-2021

- Added support for EtherCAT.

### V1.104:			Date: 15-July-2020

- V1.103 firmware version was incorrectly being displayed as V1.102

### V1.103:			Date: 4-March-2020

- Supports Identification of 1U/2U interface board

### V1.100:			Date: 28-January-2020

- EtherCAT supported added.

- Firmware made common for all DC Asterion Models (1U and 2U).

- Sequencing supported.

- During Parallel Chassis Configuration.  Corrected issue of showing “AUX mode” on the Slave unit’s display.

### V1.050:			Date: 9-July-2019

- Fixed GPIB Addressing issue.

### V1.049:			Date: 10-June-2019

- Added Sequencing logic

- Added Last Save Feature

- Added Save and Recall Feature

- Added code to communicate with GPIB board

### V1.046:			Date: 18-Dec-2018

### Made Changes to code for LXI Certification

### Added Code for GPIB communication

### Added code for local lock setting

### Improved functionality of firmware download mechanism

### Added Multi Chassis support

### Added Protection condition and Event registers

### Support for SCPI commands with no channel number specified

### Added Variable Baud feature for RS232 interface

### V1.039:			Date: 15-Aug-2018

- Initial Release