XG MEB Distribution Disk README

This file contains last minute release information

Version 6.5.2			Date: July 29, 2014

- Method for handling timeouts was leading to too long a delay.  This could lead to hang-ups in the case of an illegal address on the command (ie using SOUR2:VOLT? would timeout if there is no unit at 2) or a syntax error on a command.

Version 6.5.1		Date: February 28, 2014

- Fixed webpage by removing the 250ms handshake delay time.

- Fixed webpage when setting static IP and checking IP through serial connection.  The IP address is the same.

Version 6.5.0.7		Date: November 22, 2013

- Fixed deadlocks and adds a handshake mechanism.

Version 6.5.0.5		Date: September 24, 2013

- Fixed random drop of communication through ICMP (i.e. ping) and/or TCP (i.e. VXI-11 protocol).