# ASTERION DC Multioutput Front Panel Display Firmware Release Notes

# Release Notes:

### V5.22					               		Date: 11-Jun-2026

- (Bug Fix) During bootup, chance for IDN response to fail, causing stuck boot up screen.

- (Bug Fix) During bootup, chance for PONS settings to fail to set properly.

### V5.15					               		Date: 19-Nov-2025

- (Bug Fix) During boot up, ‘Failed to get SC version’ error displayed before Banner screen.

### V5.14							               Date: 11-Jan-2024

- Memory issue fixed for the Fault Screens causing Front Panel to reboot or freeze.

- Issues fixed for PONS Output State Warning Screen timer and Channel Output LED’s.

### V5.13								Date: 13-Dec-2022

- Enable GPIB option in control interface menu for SER 7368 model

- To support the below F/G part number:

-   ASA200200200D-7368	F/G, ASA200200200D-7368-ASTDC

-   ASM100100100C-7374	F/G, ASM100100100C-7374-ASTDC

### V5.12:								Date: 02-Mar-2022

- Issues related to System Status menu – Phase, output ON/OFF is fixed.

### V5.10:								Date: 09-Feb-2022

- Front panel freezing on the logo during bootup

- Fixed an intermittent issue in Hardware limits screen was showing incorrect values.

### V5.02:								Date: 03-Dec-2021

- Support for 2 Channels

### V5.01:								Date: 30-Oct-2021

- Initial Release.